Aquí tienes la tabla con todos los analitos correspondientes al Control C2 (315001) que aparecen en las imágenes, sin repetir y con sus respectivos valores mínimo (C. Mín -2SD) y máximo (C. Máx +2SD):

| Método / Analito | C. Mín (-2SD) | C. Máx (+2SD) |
| --- | --- | --- |
| ACP3 | 0 | 0 |
| ALBUMINA | 3.9 | 4.8 |
| ALK-POINT R | 158 | 296 |
| ALT-POINT R | 195 | 254 |
| AMONIO-POIN | 0 | 0 |
| AMY-POIN R | 0 | 0 |
| AST-POINT R | 198 | 299 |
| BUN 2 R | 38 | 47 |
| BUN POIN | 0 | 0 |
| CALCI AR-POIN R | 0 | 0 |
| CALCI CPC-POIN | 0 | 0 |
| CARBO-POIN | 0 | 0 |
| CHOLE-POIN R | 261 | 324 |
| CKMB2-POINT | 0 | 0 |
| CK-MB-POIN | 0 | 0 |
| COLESTEROL POINT | 0 | 0 |
| CPK-POINT | 0 | 0 |
| CREATININA WINER | 4.23 | 5.77 |
| CREATININA WINER 2 | 0 | 0 |
| creatinina winerlab 5 | 0 | 0 |
| CREAT-POINT | 4.23 | 5.77 |
| D BIL-POIN R | 4.2 | 6.4 |
| FOSF ACID-POINT R | 0 | 0 |
| FRUCT-POIN | 0 | 0 |
| GGT-POIN R | 106 | 160 |
| GLUCO HEXO-POIN | 0 | 0 |
| GLUCO OXIDASA-POIN R | 249 | 305 |
| GLUCOSA OXIDASA | 0 | 0 |
| GLUTAMATO DES | 0 | 0 |
| HBA1C | 0 | 0 |
| HDL COL-POIN | 94 | 182 |
| IRON-POIN R | 179 | 271 |
| LACTATO-POIN | 0 | 0 |
| LDH-POIN R | 269 | 414 |
| LDL COL-POIN | 0 | 0 |
| LIPASA-POIN R | 0 | 0 |
| MG POIN 1R. | 0 | 0 |
| MG WIENER | 0 | 0 |
| MG-POIN R | 0 | 0 |
| MG-POINT 1R | 0 | 0 |
| MICROPROT | 0 | 0 |
| PHOSP-POIN R | 0 | 0 |
| T PRO-POIN R | 5.8 | 7.2 |
| TBILI-POIN R | 3.5 | 5.7 |
| trigliceridos point | 0 | 0 |
| TRIG-POIN R | 155 | 261 |
| URICO POINT | 0 | 0 |
| URICO-POINT R | 7.8 | 11 |